## Raw Data
Sample Location | Sample ID1 | Sample ID2 | Lab Number | one day C | WEOC | WEN | NO3 H3A | PO4 H3A | NH4 H3A | Al H3A | Fe H3A | P H3A | K H3A | Ca H3A | Mg H3A | Na H3A | S H3A | B H3A | Mn H3A | Cu H3A | Zn H3A | Client Number | Client Name | Consultant Name | Sample Date | pH | SMP Buffer | Organic Matter | Soluble Salts
| QC |  | 1 | 31.6 |  |  | 2.8 | 6.8 | 1.3 | 85 | 71 | 13 | 91 | 687 | 85 | 22 | 19 | 0.76 | 2 | 0.3 | 0.63 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 2 | 30.4 |  |  | 3.4 | 7.8 | 2.3 | 72 | 62 | 49 | 20 | 1470 | 81 | 21 | 16 | 1.87 | 1 | 0.23 | 0.62 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 3 | 32.6 |  |  | 7.3 | 8.1 | 3.4 | 59 | 50 | 47 | 29 | 1685 | 82 | 35 | 13 | 1 | 2 | 0.27 | 0.54 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 4 | 27.7 |  |  | 4.5 | 8 | 1.8 | 107 | 74 | 78 | 33 | 1016 | 60 | 15 | 7 | 0.58 | 3 | 0.37 | 1.69 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 5 | 32.4 |  |  | 6.9 | 8 | 2.1 | 58 | 73 | 12 | 23 | 1423 | 171 | 12 | 11 | 0.45 | 4 | 0.36 | 0.63 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 6 | 28.2 |  |  | 5.5 | 7 | 2.2 | 54 | 30 | 18 | 72 | 568 | 145 | 12 | 4 | 0.96 | 4 | 0.28 | 0.67 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.32 | 305
| QC |  | 7 | 28.3 |  |  | 5.3 | 7.5 | 1.9 | 63 | 34 | 16 | 71 | 530 | 149 | 14 | 5 | 0.86 | 3 | 0.3 | 1.2 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.39 | 297
| QC |  | 8 | 30 |  |  | 7.9 | 7 | 1.9 | 58 | 42 | 15 | 74 | 462 | 120 | 11 | 18 | 0.25 | 4 | 0.39 | 0.63 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 4.31 | 300
| QC |  | 9 | 28.4 |  |  | 7.7 | 7 | 2.2 | 52 | 36 | 14 | 83 | 442 | 137 | 14 | 7 | 0.39 | 4 | 0.4 | 0.64 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 4.49 | 301
| QC |  | 10 | 27.9 |  |  | 10.6 | 6.9 | 2.8 | 68 | 79 | 9 | 23 | 1828 | 217 | 14 | 13 | 0.6 | 4 | 0.32 | 0.51 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.12 | 302
| QC |  | 11 | 28.6 | 197.8 | 23.8 | 9.2 | 7.9 | 1.8 | 58 | 73 | 12 | 23 | 1423 | 171 | 12 | 11 | 0.45 | 4 | 0.36 | 0.63 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.24 | 276
| QC |  | 12 | 29.9 |  |  | 10.8 | 4.2 | 1.5 | 75 | 79 | 9 | 27 | 1958 | 234 | 16 | 17 | 0.56 | 4 | 0.44 | 0.51 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 4.27 | 305
| QC |  | 13 | 30 | 138 | 18.5 | 8.9 | 8 | 6.5 | 57 | 75 | 12 | 17 | 1317 | 158 | 10 | 9 | 0.47 | 4 | 0.22 | 0.6 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 14 | 28.7 | 112.4 | 15.1 | 9.7 | 9.3 | 5.1 | 62 | 74 | 14 | 22 | 1505 | 172 | 11 | 10 | 0.53 | 4 | 0.37 | 0.62 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 5.16 | 305
| QC |  | 15 | 29.1 | 113.1 | 19.3 | 9.5 | 8.9 | 5.1 | 69 | 99 | 12 | 22 | 1490 | 196 | 10 | 11 | 0.52 | 6 | 0.24 | 0.65 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 16 | 32 | 122.4 | 15.8 | 10.3 | 8.2 | 5.3 | 62 | 75 | 11 | 22 | 1715 | 192 | 11 | 12 | 0.53 | 5 | 0.28 | 0.54 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 5.2 | 291
| QC |  | 17 | 29.9 | 128.9 | 16.1 |  |  |  | 62 | 78 | 13 | 23 | 1710 | 191 | 11 | 12 | 0.49 | 5 | 0.39 | 0.66 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 5.47 | 298
| QC |  | 18 | 29.9 | 120.8 | 15.2 |  |  |  | 58 | 70 | 11 | 20 | 1500 | 165 | 11 | 10 | 0.5 | 4 | 0.24 | 0.56 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 5.32 | 296
| QC |  | 19 | 29.2 | 296.9 | 27.3 | 5.6 | 7.7 | 3.1 | 71 | 92 | 10 | 26 | 1817 | 217 | 16 | 13 | 0.49 | 5 | 0.37 | 0.6 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.6 | NA | 3.86 | 313
| QC |  | 20 | 26.2 | 382.3 | 25.8 | 10.3 | 6.9 | 2.2 | 63 | 67 | 8 | 24 | 1860 | 214 | 14 | 15 | 0.45 | 4 | 0.33 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.6 | NA | 3.84 | 293
| QC |  | 21 | 28.4 | 210.7 | 33.1 | 12.3 | 7.8 | 3.3 | 66 | 67 | 8 | 28 | 2080 | 236 | 15 | 17 | 0.5 | 3 | 0.43 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 22 | 26 | 202.1 | 34.7 | 12.6 | 7.8 | 2.7 | 65 | 64 | 8 | 28 | 2044 | 240 | 15 | 17 | 0.51 | 4 | 0.47 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 23 | 28 | 189.1 | 33.4 | 13.1 | 7.8 | 3.4 | 67 | 68 | 9 | 27 | 1978 | 232 | 15 | 15 | 0.45 | 4 | 0.4 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 3.75 | 309
| QC |  | 24 | 25.2 | 181.6 | 33.1 | 11.3 | 6.4 | 2.7 | 67 | 75 | 9 | 27 | 1937 | 223 | 13 | 15 | 0.5 | 4 | 0.45 | 0.51 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 4.04 | 296
| QC |  | 25 | 23.6 | 215.1 | 30.4 | 12.8 | 7.2 | 3 | 63 | 69 | 9 | 25 | 1917 | 219 | 14 | 15 | 0.47 | 4 | 0.42 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 3.86 | 316
| QC |  | 26 | 23.5 | 214.5 | 25.2 | 15 | 7.3 | 3.3 | 65 | 67 | 9 | 28 | 1974 | 221 | 14 | 17 | 0.46 | 4 | 0.38 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.84 | 300
| QC |  | 27 | 28.2 | 180.8 | 33.2 | 16.2 | 7.8 | 3.4 | 63 | 67 | 8 | 25 | 2035 | 234 | 15 | 17 | 0.46 | 4 | 0.45 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.89 | 312
| QC |  | 28 | 26.2 | 149 | 30.9 | 11.1 | 8.5 | 8.5 | 54 | 62 | 11 | 25 | 1401 | 159 | 11 | 11 | 0.43 | 4 | 0.29 | 0.52 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.07 | 294
| QC |  | 29 | 25.8 | 126 | 27.7 | 8.3 | 7.1 | 3.2 | 99 | 97 | 13 | 42 | 1739 | 192 | 14 | 12 | 0.53 | 5 | 0.35 | 0.82 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 30 | 31.9 | 131 | 18.8 | 9.9 | 8.8 | 1.4 | 68 | 87 | 11 | 21 | 1883 | 208 | 15 | 11 | 0.6 | 5 | 0.42 | 0.65 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 31 | 29.9 | 143.4 | 18.6 | 10.6 | 8.7 | 1.4 | 67 | 83 | 9 | 23 | 1953 | 218 | 16 | 12 | 0.58 | 5 | 0.6 | 0.6 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 32 | 29.1 | 119.5 | 20.3 | 9.8 | 9 | 2.2 | 71 | 88 | 11 | 25 | 2044 | 228 | 16 | 13 | 0.63 | 5 | 0.49 | 0.62 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 33 | 28.1 | 132.8 | 20.2 | 9.2 | 8.7 | 1.3 | 70 | 85 | 9 | 25 | 1954 | 215 | 14 | 12 | 0.62 | 5 | 0.39 | 0.61 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 34 | 29.8 | 134.4 | 16.7 | 13.6 | 6.9 | 2.8 | 74 | 80 | 7 | 35 | 2299 | 261 | 17 | 18 | 0.68 | 4 | 0.44 | 0.47 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.03 | 319
| QC |  | 35 | 29.4 | 123.2 | 17.7 | 14.2 | 5.8 | 3.3 | 72 | 80 | 6 | 36 | 2210 | 245 | 20 | 16 | 0.67 | 4 | 0.46 | 0.55 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 3.92 | 319
| QC |  | 36 | 28.3 | 128.1 | 17.7 | 9.6 | 9.9 | 1.2 | 70 | 88 | 10 | 24 | 1983 | 224 | 16 | 11 | 0.59 | 5 | 0.4 | 0.57 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.6 | NA | 3.79 | 316
| QC |  | 37 | 31.2 | 126.6 | 15.7 | 11.9 | 7.9 | 3.5 | 78 | 85 | 8 | 30 | 2347 | 259 | 19 | 18 | 0.7 | 5 | 0.58 | 0.6 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 4.02 | 300
| QC |  | 38 | 28.7 | 129.5 | 16.3 | 13.4 | 7.9 | 2.6 | 73 | 84 | 8 | 36 | 2273 | 247 | 20 | 17 | 0.57 | 5 | 0.54 | 0.61 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 4 | 314
| QC |  | 39 | 30.8 | 136.4 | 16.2 | 14.4 | 7.6 | 1.7 | 71 | 83 | 10 | 34 | 2223 | 245 | 17 | 17 | 0.6 | 5 | 0.49 | 0.58 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 40 | 27.8 | 121.2 | 16 | 12.4 | 8.5 | 3.3 | 81 | 89 | 10 | 31 | 2265 | 252 | 18 | 17 | 0.64 | 6 | 0.47 | 0.59 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 41 | 28.8 | 134.1 | 17.9 | 15.6 | 6.8 | 2.1 | 78 | 85 | 7 | 27 | 2421 | 274 | 19 | 18 | 0.79 | 5 | 0.48 | 0.49 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 42 | 25.2 | 128.2 | 17.8 | 15.4 | 4.1 | 2.2 | 78 | 89 | 7 | 35 | 2326 | 266 | 19 | 17 | 0.68 | 7 | 0.57 | 0.49 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.97 | 311
| QC |  | 43 | 43.5 |  |  | 9.5 | 9 | 1.4 | 55 | 69 | 12 | 29 | 1663 | 193 | 13 | 13 | 0.5 | 5 | 0.36 | 0.52 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 44 | 23.9 |  |  | 8.5 | 8.2 | 3.9 | 50 | 58 | 11 | 26 | 1388 | 161 | 11 | 11 | 0.36 | 4 | < 0.20 | 0.57 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 45 | 36.2 |  |  | 10.6 | 7.2 | 2.5 | 107 | 100 | 14 | 50 | 1511 | 178 | 14 | 12 | 0.48 | 5 | 0.27 | 0.68 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 46 | 42.1 |  |  | 5.1 | 8.3 | 4.1 | 50 | 65 | 14 | 30 | 1370 | 163 | 12 | 12 | 0.41 | 4 | 0.21 | 0.55 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.27 | 314
| QC |  | 47 | 32 |  |  | 11 | 8.4 | 2.1 | 54 | 69 | 12 | 29 | 1656 | 185 | 12 | 13 | 0.46 | 5 | 0.26 | 0.56 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.3 | 308
| QC |  | 48 | 41.1 |  |  | 8.1 | 7.9 | 2 | 50 | 60 | 11 | 26 | 1458 | 167 | 11 | 11 | 0.35 | 4 | 0.23 | 0.44 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.52 | 322
| QC |  | 49 | 43 |  |  | 8.3 | 8.9 | 2.9 | 54 | 63 | 12 | 29 | 1532 | 176 | 13 | 11 | 0.47 | 4 | 0.31 | 0.57 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 3.05 | 315
| QC |  | 50 | 38.4 |  |  | 10.3 | 7.9 | 2.4 | 52 | 65 | 11 | 27 | 1629 | 184 | 12 | 13 | 0.43 | 5 | 0.22 | 0.44 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 51 | 38.4 |  |  | 5.8 | 8.6 | 2.6 | 53 | 62 | 10 | 29 | 1636 | 189 | 14 | 13 | 0.46 | 4 | 0.35 | 0.46 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 3.3 | 325
| QC |  | 52 | 37.7 |  |  | 9.3 | 7.9 | 2.4 | 53 | 63 | 10 | 26 | 1488 | 174 | 12 | 11 | 0.43 | 4 | 0.28 | 0.45 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 53 | 40.4 |  |  | 9.6 | 7.4 | 3.1 | 93 | 90 | 13 | 46 | 1552 | 185 | 13 | 13 | 0.46 | 5 | 0.32 | 0.61 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 54 | 37 |  |  | 8.7 | 8.9 | 2.9 | 52 | 62 | 11 | 27 | 1481 | 180 | 15 | 11 | 0.42 | 4 | 0.29 | 0.5 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 55 | 40.6 |  |  | 9.2 | 9 | 2.9 | 52 | 64 | 11 | 26 | 1529 | 174 | 12 | 11 | 0.39 | 5 | 0.33 | 0.55 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 56 | 36.6 |  |  | 10.2 | 7.2 | 2.3 | 107 | 100 | 12 | 40 | 1561 | 190 | 13 | 13 | 0.52 | 5 | 0.31 | 0.58 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 3.53 | 324
| QC |  | 57 | 23.3 | 191.8 | 31.8 | 9.5 | 7 | 5.3 | 70 | 73 | 10 | 36 | 1478 | 177 | 14 | 12 | 0.55 | 5 | 0.32 | 0.65 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 58 | 25 | 130.5 | 20.4 | 7.8 | 6.6 | < 0.5 | 87 | 90 | 13 | 37 | 1539 | 172 | 12 | 11 | 0.47 | 5 | 0.2 | 0.71 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.7 | NA | 3.52 | 292
| QC |  | 59 | 34 | 178.6 | 28.9 | 12.8 | 7.3 | 3.5 | 58 | 77 | 7 | 25 | 1844 | 207 | 14 | 14 | 0.54 | 6 | 0.33 | 0.92 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.11 | 153
| QC |  | 60 | 27.9 | 180.4 | 30.1 | 11.5 | 6.3 | 3.1 | 50 | 63 | 9 | 25 | 1603 | 177 | 12 | 12 | 0.4 | 4 | 0.31 | < 0.40 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 61 | 30.8 | 155.6 | 28.8 | 13.4 | 5.1 | 0.7 | 51 | 57 | 7 | 23 | 1770 | 201 | 13 | 19 | 0.45 | 4 | 0.42 | 0.43 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 4.28 | 132
| QC |  | 62 | 21.4 | 193.9 | 24.9 | 13.4 | 5.8 | 2.7 | 52 | 57 | 11 | 27 | 1700 | 204 | 13 | 15 | 0.41 | 4 | 0.28 | 0.43 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.8 | NA | 5.52 | 256
| QC |  | 63 | 26.9 | 195.4 | 25.8 | 17 | 3 | 1.7 | 62 | 66 | 8 | 13 | 1819 | 206 | 14 | 19 | 0.55 | 5 | 0.28 | 0.52 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
| QC |  | 64 | 26.4 | 171.1 | 24.1 | 9.4 | 7.8 | 1.8 | 68 | 78 | 8 | 23 | 1588 | 175 | 11 | 11 | 0.45 | 5 | 0.44 | 0.48 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19 | 7.9 | NA | 3.75 | 194
| QC |  | 65 | 27 | 163.7 | 24.3 | 7.8 | 6.4 | 3 | 55 | 74 | 9 | 25 | 1488 | 164 | 11 | 11 | 0.5 | 5 | 0.4 | 0.52 | 80033 | Laboratory Quality Control | Home Office | 2022-08-19
Note on C1: Pounds of plant available Nitrogen per acre in your soil
Note on D1: Pounds of plant available P2O5 per acre in your soil
Note on E1: Pounds of plant available K2O per acre in your soil
Note on F1: Dollar value of nutrients in your soil based on fertilizer prices.
Note on H1: Type in your Crop Wheat Corn Sorghum Oats Soybeans Sunflowers Grass Cotton
Note on I1: Type in your Yield Goal bu\acre grass, cotton: bale per acre
Note on M1: For plant available N, most labs only test for nitrate-nitrogen, below are the results for this type of testing,
Note on N1: We test for nitrate also, plus NH4-N, but add tests for microbial released N based on activity and organic C: organic N ratio, below is the additional N we find beyond nitrate only
Note on O1: $ N per acre saved using the new tests beyond using nitrate only.
Note on Q1: This number in ppm is the amount of CO2-C released in 24 hr from soil microbes after your soil has been dried and rewetted. This is a measure of the microbial activity in the soil and is highly related to the fertility of your soil. The higher the number, the more fertile the soil.
Note on R1: This number in ppm is the amount of organic C extracted from your soil with water. This pool of carbon is roughly 80 times smaller than the total soil organic C pool (% Organic Matter) and reflects the energy source that is driving your soil microbes.
Note on S1: his number in ppm is the amount of water extractable organic N in your soil.
Note on T1: This is the ratio of organic C to organic N in your soil based on a water extraction. This number is used in conjunction with the Solvita CO2-C number to estimate potential N and P release. It is also used in the soil health calculation. This number is a very sensitive indicator of the health of your soil and has a significant impact on the activity of your soil microbes. We like to see this number below 20.
Note on U1: This number is calculated as 1-day CO2 divided by the organic C:N ratio plus a weighted organic C and organic N addition. It represent the overall health of your soil system. We like to see this number above 7. Keeping track of this number will allow you to gauge the effects of your management practices over the years.
Note on V1: This is a suggested cover crop planting mix recommendation based on your soil test data. It is designed to provide your soil with a mixed species cover crop to help you improve or sustain your soil health.
Note on W1: Inorganic P is your soil extracted with H3A and analyzed for orthophosphate in lbs per acre expressed as P2O5
Note on Y1: Organic P is the Total P minus Inorganic P in lbs per acre expressed as P2O5

## Calc Data
Sample Location | Sample ID1 | Sample ID2 | Lab Number | In N H3A | In N water | WEON | WEOC:N | Nmin | Pmin | % MAC | SHC | Soil Input | % MAC*WEON | H3A Organic P | H3A-P | H3A-PO4 | SHSS | BBC | BBON

## Run Macro
Sample Location | Sample ID1 | Sample ID2 | Lab Number |  | N | P205 | K2O
| QC | 0 | 1 | Fertilizer Cost ($/lb) | 0.54 | 0.64 | 0.52
| QC |  | 2
| QC |  | 3 | Crop Removal (lb/bu)
| QC |  | 4 | Corn | 1 | 0.5 | 0.4
| QC |  | 5 | Soybean | 0 | 0.9 | 1.4
| QC |  | 6 | Wheat | 1.5 | 0.5 | 0.4
| QC |  | 7 | Crop 4 | 0 | 0 | 0
| QC |  | 8 | Crop 5 | 0 | 0 | 0
| QC |  | 9 | Crop 6 | 0 | 0 | 0
| QC |  | 10 | Crop 7 | 0 | 0 | 0
| QC |  | 11
| QC |  | 12
| QC |  | 13
| QC |  | 14
| QC |  | 15
| QC |  | 16
| QC |  | 17
| QC |  | 18 |  | * This report uses macros.
| QC |  | 19 |  | You must "Enable Editing" and Enable Content"
| QC |  | 20 |  | before clicking Run button to view report.
| QC |  | 21
| QC |  | 22
| QC |  | 23
| QC |  | 24
| QC |  | 25
| QC |  | 26
| QC |  | 27
| QC |  | 28
| QC |  | 29
| QC |  | 30
Run

## NPK (hidden)
Sample Location | Sample ID1 | Sample ID2 | Total Available Nitrogen (#/a) | Available Inorganic Nitorgen (#/a) | Mineralized Organic Nitrogen (#/a) | $ of Nitrogen Saved | Total Available P as P2O5 (#/a) | Avaiable Inorganic P as P2O5 (#/a) | Mineralized Organic P as P2O5 (#/a) | Available Potssasium as K2O (#/a) | NPK Value as $/a | Total Available Nitrogen (#/a) | Total Available P as P2O5 (#/a) | Available Potssasium as K2O (#/a) | Available Organic P as P2O5 (#/a) | Reserve Organic P as P2O5 (#/a) | Avialable Organic Nitrogen (#/a) | Reserve Organic Nitrogen (#/a)
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | #REF! | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | #REF! | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | #REF! | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | #REF! | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SoilHealth (hidden)
Sample Location | Sample ID1 | Sample ID2 | Respiration (Solvita CO2-C) (ppm) | Water Extractable Organic Carbon (ppm) | Water Extractable Organic Nitrogen (ppm) | Organic C:N | Organic N:P | % Microbially Active Carbon | Soil Health Calculation | Cover Crop Mix | Extra Nitrogen Credited for Active/Healthy Soils | Soil Health Calculation | $ of Nitrogen Saved
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0
[12 empty] | 0 | 0

## SecondaryMinorNutrients (hidden)
Sample Location | Sample ID1 | Sample ID2 | Calcium H3A (#/a) | Magnesium H3A (#/a) | Sodium H3A (#/a) | Sulfur H3A (ppm) | Boron H3A (ppm) | Iron H3A (ppm) | Manganese H3A (ppm) | Alulminum H3A (ppm) | Copper H3A (ppm) | Zinc H3A (ppm) | Calcium + Magnesium / Aluminum | % P Saturation Iron + Aluminum | % P Saturation Calcium | Ca:Mg | Plant Effective CEC (meq/100 g) | Ca Need (#/a) | Ca % | Mg % | Calcium H3A (#/a) | Iron H3A (ppm) | Alulminum H3A (ppm)
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0

## GraphIt (hidden)
Sample ID
0
0
0
0
GraphIt

## Ratings (hidden)
Ca:Mg | Mg:K | P:S | P:Zn | K:Na | Fe:Mn | Ca:Mg Weighted Graph | Mg:K Weighted Graph | P:S Weighted Graph | P:Zn Weighted Graph | K:Na Weighted Graph | Fe:Mn Weighted Graph | Soil Health Score Spedometer | Pointer Spedometer | End Spedometer | Nutrient Ratio Graph |  | Soil Health Score
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | Top Range | Critical Value | Spedometer Ranges
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 7 | 1 | Start | 0
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 1 | 0.5 | Red | 2
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 1 | 0.5 | Yellow | 8
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 15 | 10 | Green | 20
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 3 | 1 | Blue | 20
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90 | 10 | 1 | End | 50
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 1 | 90

## Soil Health & Fertility Report (hidden)
Soil Health and Fertility Report
| Submitted by: | Home Office | File Number: | 80033
| Client: | Laboratory Quality Control | Sample Date: | 2022-08-19
Location:
| Sample ID: | QC | Intended Crop: |  | Corn
|  |  | Crop Yield (bu/a): |  | 200
Soil Health Factors |  | Ranking: | Value of Available Nutrients per acre
*CO2 Respiration (ppm) | 0 | Very Low | N + P2O5 + K2O = |  |  | 0
*WEOC (ppm) | 0 | Very Low | Available Nutrients (lbs/acre)
*WEON (ppm) | 0 | Very Low | N | P2O5 | K2O
C:N ratio | 0 | Optimum | 0 | 0 | 0
*NUTRIENT ANALYSIS
|  |  | Analysis |  | Units | Level Found
|  |  | Nitrate-N |  | ppm | 2.8
|  |  | Ammonium-N |  | ppm | 1.3
|  |  | Total Inorganic N |  | ppm | 0
|  |  | Estimated Biological N |  | lb/a | 0
|  |  | Estimated N for Crops |  | lb/a | 0
|  |  | Phosphorus as P |  | ppm | 0
|  |  | Potassium as K |  | ppm | 0
|  |  | Calcium |  | lb/a | 0
|  |  | Magnesium |  | lb/a | 0
|  |  | Sodium |  | lb/a | 0
|  |  | Sulfur as S |  | ppm | 0
|  |  | Boron |  | ppm | 0
|  |  | Iron |  | ppm | 0
|  |  | Manganese |  | ppm | 0
|  |  | Copper |  | ppm | 0
|  |  | Zinc |  | ppm | 0
|  |  | *PECEC |  |  | 0
|  |  | pH (H2O 1:1) |  |  | 0
|  |  | Buffer pH (Sikora) |  |  | 0
|  |  | Organic Matter (360○C LOI) % |  |  | 0
|  |  | Soluble Salts |  | ppm | 0
|  |  | Ca:Mg | Ca+Mg:Al | Ca % | Mg %
Notes and Recommendations |  |  | 0 | 0 | 0 | 0
USDA Cover Crop Recommendation |  |  | 4.5 to 8 | >1.7
Suggested Cover Crop Blend: |  |  | Estimated Calcium Need (lb/a) |  |  | 0
0 |  |  | **Nutrient Required (estimated) lbs per acre
*Notes: CO2 Respiration 24 hour by IR Gas Analyzer method |  |  | 200 | 100 | 80 | N-P2O5-K2O
WEOC is water extractable organic carbon and |  |  | **Additional Nutrient Need lbs per acre
WEON is water extractable organic nitrogen. |  |  | 200 | 100 | 80 | N-P2O5-K2O
All nutrients extracted using H3A organic acid extract.
PECEC is plant effective CEC calculated using H3A.
**Brookside Laboratories, Inc. does not guarantee any recommendation as university calibration work has not been done
Soil Health Score